## Instrument 1
Online Interactive Workshop PREVIEW 2019
HbA1c Study: Upload Risk Drivers - February 2019
Identify each instrument in each laboratory | Your Anonymous Laboratory Code # | 10___ | 10___
| Laboratory Name / Site | MyLab | MyLab
| Laboratory Group | HbA1c Study | HbA1c Study
| Department |  | 0
| Instrument Model |  | 0
| Instrument Name or Number |  | 0
Default for this study | Analyte | HbA1c | HbA1c
| Units of Measure | Percent | Percent
Complete QC Lot numbers and average patient samples per day of testing | QC Sample Level | Lev 1 (Low) | Lev 2 (High)
QC Sample Lot #
| Date From | 2019-02-01 | 2019-02-28
| Date to | 2019-02-01 | 2019-02-28
| # Days of patient testing in time period |  | 0
| Average total patient samples per testing day |  | 0
From QC software or instrument | Measured mean in time period
Measured SD in time period
Measured mean is compared to True to calculate bias, total error, etc. | True Value for this QC sample
| Source of True Value for QC samples | Select | Select
Default for this study, Modify if you like | # Decimals for true value and mean | 3 | 3
| % Patients protected by this level of QC sample | 50% | 50%
Default for this study; Modify if you like | Source of TEa Limit (Medical Goal) | IFCC | IFCC
| Maximum Acceptable Error - as % | 6% | 6%
| Maximum Acceptable Error (TEa) - as units, not % | 0 | 0
Default for this study; Modify if you like | Acceptable Risk Criteria for Routine Method Review as Units | Sigma | Sigma
| Acceptable Risk Criteria for method review - numerical value | 2 | 2
Optional - if you calculate MU | Your calculated measurement uncertainty (if available)
Your formula for measurement uncertainty (if available)
Maximum ACCEPTABLE Measurement Uncertainty (if available)
Optional - if you calculate MU | Biological Variation CVi (Within Subject CV) (if available)
Source of Biological Variation CVi
Complete this information about your QC strategy. | Reference for QC Process Design | Select | Select
Mean assigned on QC chart
SD assigned on QC chart
Number of QC results in time period
QC Procedure: # QC Events (times tested) per day
QC Procedure: # samples tested per QC Event
| Bracket QC? (Check QC before & after reporting 'a batch' of patients?) | Select | Select
Default for this study; Modify if you like | Acceptable Risk Criteria / Failure Event: Daily QC as Units | % | %
| Acceptable Risk Criteria for method review - numerical value | 5 | 5
Select at least one rule | Reject - Single Rule
| Reject -Single or MultiRule-1 | Select Rule | Select Rule
| Reject -Single or MultiRule-2 | Select Rule | Select Rule
| Reject -Single or MultiRule-3 | Select Rule | Select Rule
| Reject -Single or MultiRule-4 | Select Rule | Select Rule
Select warning rules if used | Warning - Single Rule
| Warning -Single or MultiRule-1 | Select Rule | Select Rule
| Warning -Single or MultiRule-2 | Select Rule | Select Rule
| Warning -Single or MultiRule-3 | Select Rule | Select Rule
| Warning -Single or MultiRule-4 | Select Rule | Select Rule
Complete this information IF you used the same QC Lot numbers last month | Measured mean in prior time period - IF same QC Lot#
Measured SD in prior time period - IF same QC Lot#
| Prior time period: Date From | 2019-01-01 | 2019-01-01
| Prior time period: Date to | 2019-01-31 | 2019-01-31
Default for this study; Modify if you like | Currency Symbol (Convert to USD for this study) | $ | $
| Opinion of CLINICAL cost at TEa | 100 | 100
| Acceptable Average cost / patient result | 75 | 75
| Cost to create & Review QC result | 2 | 2
Did you calibrate mid-month? Change reagent lots? Maintain the instrument? Any comments or questions welcome. | Comments
Did you calibrate mid-month?
Did you change reagent lots mid month?
Instrument maintenance perfromed by service rep?
Completed By
Formulas:
Lev 1 (Low) = [Lev 1 (Low), row above]
Lev 2 (High) = [Lev 2 (High), row above]
Lev 2 (High) = [Lev 1 (Low)]

## Lookup
Select Rule | ARC Types - Review | ARC Routine Method Review As Units | ARC Daily QC As Units | Source of True Value | Source of Medical Goal (TEa Limit) | Reference for QC Process Design | Bracket QC
3.5 | # MUR/Yr. | % | % | Select | Select | Select | Select
3 | Sigma | # MUR/Year | # MUR/Failure Event | Method Validation Studies | Approved Medical Goal | Local policy | Yes
2.5 | % | Clinical cost of error | Clinical cost of error | Package Insert | Biological Variation | M.O.R.E. Quality | No
2 | # MUR/Failure Event | Sigma | Sigma | Peer - All Methods | IFCC | Parvin Sigma | Not sure
2-2s |  |  |  | Peer - This Method | CLIA USA | Westgard Sigma
4-1s |  |  |  | Peer - All - Local | Other Requlated Limits | Varies with QC software
3-1s |  |  |  | Peer - Method - Local | Prociency/EQA | Other
R-4s |  |  |  | Unavailable | Unavailable (TEa not set)
8x |  |  |  | Other | Other
10x
2 of 3 2s
6x