CHAPTER 26 THREE-PHASE INDUCTION MOTORS

Exercise 166, Page 535

1.  The synchronous speed of a 3-phase, 4-pole induction motor is 60 rev/s. Determine the

frequency of the supply to the stator windings.

Synchronous speed,     from which,   frequency, f = p =  = 120 Hz

2.  The synchronous speed of a 3-phase induction motor is 25 rev/s and the frequency of the supply

to the stator is 50 Hz. Calculate the equivalent number of pairs of poles of the motor.

hence, number of pairs of poles, p =  = 2

3.  A 6-pole, 3-phase induction motor is connected to a 300 Hz supply. Determine the speed of

rotation of the magnetic field produced by the stator.

Speed of rotation,  = 100 rev/s

Exercise 167, Page 537

1.  A 6-pole, 3-phase induction motor runs at 970 rev/min at a certain load. If the stator is connected

to a 50 Hz supply, find the percentage slip at this load.

Synchronous speed,  = 16.667 rev/s

Rotor speed,  = 16.167 rev/s

Hence, slip, s =  = 3%

2.  A 3-phase, 50 Hz induction motor has 8 poles. If the full load slip is 2.5%, determine (a) the

synchronous speed, (b) the rotor speed, and (c) the frequency of the rotor e.m.f.’s.

(a) Synchronous speed,  = 12.5 rev/s   or   12.5  60 = 750 rev/min

(b) Slip, s =

i.e.

and                                    rotor speed,  = 12.5 – 0.3125

= 12.1875 rev/s   or    12.1875  60 = 731 rev/min

(c) Since the synchronous speed is 12.5 rev/s and that of the rotor is 12.1876 rev/s, the rotating

magnetic field cuts the rotor bars at (12.5 – 12.1875), i.e. 0.3125 rev/s.

Thus, the frequency of e.m.f.’s induced, f =  = 1.25 Hz

3.  A three-phase induction motor is supplied from a 60 Hz supply and runs at 1710 rev/min when

the slip is 5%. Determine the synchronous speed.

Slip, s =     and the rotor speed,  = 28.5 rev/s

Hence,

and                0.05  =  - 28.5

i.e.                      28.5 =  - 0.05 = 0.95

from which, synchronous speed,  =  = 30 rev/s   or   30  60 = 1800 rev/min

4.  A 4-pole, 3-phase, 50 Hz induction motor runs at 1440 rev/min at full load. Calculate (a) the

synchronous speed, (b) the slip and (c) the frequency of the rotor induced e.m.f.’s.

(a) Synchronous speed,  = 25 rev/s   or   25  60 = 1500 rev/min

(b) Slip, s =     where     = 24 rev/s

i.e.      slip, s =  = 4%

(c) n =    or   frequency of the rotor induced e.m.f.’s, f = n  p = (25 – 24) = 2 Hz

Exercise 168, Page 538

1.  A 12-pole, 3-phase, 50 Hz induction motor runs at 475 rev/min. Calculate (a) the slip speed,

(b) the percentage slip and (c) the frequency of the rotor currents.

(a) Synchronous speed,  = 8.3333 rev/s

Rotor speed,  = 7.9167 rev/s

Hence, slip speed =  = 8.3333 – 7.9167 = 0.4166 rev/s = 0.4166  60 = 25 rev/min

(b) Slip, s = = 5%

(c) Frequency of the rotor currents,  = 2.5 Hz

2.  The frequency of the supply to the stator of a 6-pole induction motor is 50 Hz and the rotor

frequency is 2 Hz. Determine (a) the slip, and (b) the rotor speed in rev/min.

(a) Rotor frequency,     i.e.     2 = s(50)

from which,                            slip, s =  = 0.04   or   4%

(b) Slip, s =      where

from which,

and  rotor speed,

= 16 rev/s   or   16  60 = 960 rev/min

Exercise 169, Page 540

1.  The power supplied to a three-phase induction motor is 50 kW and the stator losses are 2 kW. If

the slip is 4%, determine (a) the rotor copper loss, (b) the mechanical power developed by the

rotor, (c) the output power of the motor if friction and windage losses are 1 kW, and (d) the

efficiency of the motor, neglecting rotor iron losses.

(a) Input power to rotor = stator input power – stator losses

= 50 kW – 2 kW = 48 kW

Slip =      i.e.

from which,           rotor copper loss = (0.04)(48) = 1.92 kW

(b) Total mechanical power developed by the rotor = rotor input power – rotor losses

= 48 – 1.92 = 46.08 kW

(c) Output power of the motor = power developed by the rotor – friction and windage losses

= 46.08 – 1 = 45.08 kW

(d) Efficiency,  = 90.16%

2.  By using external rotor resistance, the speed of the induction motor in problem 1 is reduced to

40% of its synchronous speed. If the torque and stator losses are unchanged, calculate (a) the

rotor copper loss, and (b) the efficiency of the motor.

(a) Slip, s =  = 60%

Input power to rotor = 48 kW

Since   slip, s =     then   rotor copper loss = s (rotor input)

= 0.60(48) = 28.80 kW

(b) Power developed by rotor = input power to rotor – rotor copper loss

= 48 – 28.80 = 19.20 kW

Output power of motor = power developed by rotor – friction and windage losses

= 19.20 – 1 = 18.20 kW

Hence, efficiency of motor,

= 36.40%

Exercise 170, Page 542

1.  A 400 V, three-phase, 50 Hz, 2-pole, star-connected induction motor runs at 48.5 rev/s on full

load. The rotor resistance and reactance per phase are 0.4  and 4.0  respectively, and the

effective rotor-stator turns ration is 0.8:1. Calculate (a) the synchronous speed, (b) the slip, (c) the

full load torque, (d) the power output if mechanical losses amount to 500 W, (e) the maximum

torque, (f) the speed at which maximum torque occurs, and (g) the starting torque.

(a) Synchronous speed,  = 50 rev/s    or   3000 rev/min

(b) Slip, s =  = 0.03   or   3%

(c) Phase voltage,  = 230.94 V

Full load torque, T =

= (0.00611155) = 22.43 N m

(d) Output power, including friction losses,  = 6835 W

Hence, output power =  - mechanical losses = 6835 – 500 = 6335 W   or   6.34 kW

(e) Maximum torque occurs when

Slip, s =  = 0.1

Hence, maximum torque,

= (0.00611155) = 40.74 N m

(f) For maximum torque, slip, s = 0.1

Slip, s =

i.e.                                        and

i.e. speed at which maximum torque occurs,  = 45 rev/s   or   2700 rev/min

(g) At the start, i.e. at standstill, slip, s = 1

Hence, starting torque =

= (0.00611155)

= 8.07 N m

2.  For the induction motor in Problem 1, calculate at full load (a) the rotor current, (b) the rotor

copper loss, and (c) the starting current.

(a) Rotor current,  = 13.27 A

(b) Rotor copper loss per phase =  = 70.44 W

Total rotor copper loss (for 3 phases) = 3  70.44 = 211.3 W

(c) Starting current,  = 45.96 A

3.  If the stator losses for the induction motor in Problem 1 are 525 W, calculate at full load (a) the

power input, (b) the efficiency of the motor and (c) the current taken from the supply if the motor

runs at a power factor of 0.84

(a) Output power,  = 6835 W = 6.835 kW from (d) of problem 1

Rotor copper loss = 211.3 W = 0.2113 kW from (b) of problem 2

Stator input power,

= 6.833 + 0.2113 + 0.525 = 7.57 kW

(b) Net power output = 6.34 kW from (d) of problem 1

Hence, efficiency of motor,  = 83.75%

(c) Power input,    where   cos  = power factor = 0.84

Hence, supply current,  = 13.0 A

4.  For the induction motor in Problem 1, determine the resistance of the rotor winding required for

maximum starting torque.

Rotor reactance,    and at starting, slip, s = 1

Maximum torque occurs when rotor resistance,  = 4.0

EXERCISE 171, Page 546

The answers to questions 1 to 23 may be determined from pages 531 to 546 of the textbook

EXERCISE 172, Page 547

1. (c)   2. (b)   3. (d)   4. (a)   5. (b)   6. (d)   7. (b)   8. (c)   9. (f)   10. (j)    11. (d)   12. (c)   13. (a)   14. (c)   15. (b)   16. (b)   17. (c)    18. (b)