## 1
Question | Answer | A | B | C | D | E
What do Building Regulations Part L2A relate to? | A | Thermal performace of the building | For zero carbon buildings | Not relevant to building services engineers | A European directive for construction | Design software for residential acommodation
What does regulated peak heat demand mean? | B | Must be zero for all new buildings from 2015 | Allowed amount for a new building | An EU directive | Nothing of relevance to design | Must not exceed 5 kW for any new home after 2020
What does CCS stand for? | D | Council for Carbon Sequestration | It is meaningless | Corporate Carbon Service | Carbon capture and storage | Coal into Carbon Society
What does capped allowance relate to? | C | Greatly reduced emission allowance | Maximum carbon dioxide to be released into the atmosphere at a site | Allowed emissions | Zero emissions allowed for the site | Any mix of emissions allowed below the capped amount
How can planet earth benefit from CCS? | A | Reduced carbon dioxide emissions into the atmosphere | It cannot | Greatly increased profits for industry | Compressed gases pumped into earth will leak back out | Agriculture does not need more carbon dioxide in the atmosphere
Which is true about carbon dioxide? | C | Smells bad | Noxious poison | Generally harmless and an atmospheric plant food | Stops rainfall | Only atmospheric source is hydrocarbon combustion
What is good about energy ratings for buildings? | E | Create a meaningless plethora of jargon | Nothing, a waste of time | Consultants earn fees for surveys and reports | Many conflicting schemes create business | Consistent measurement of emissions
Which country annually increases carbon dioxide atmospheric emissions fastest? | A | China | United States of America | Bahrain | Great Britain | Australia
Which best describes the EU ETS? | B | Tax on energy use | An outcome of the Kyoto Protocol | A disincentive to invest in energy efficiency | An unavoidable cost for industry | Unnecessary administrative burden from the EU
Which is correct for the level of CO2 emissions from the UK? | A | 500 mega tonnes per year | 500 tonnes per year | 500 giga tonnes per year | There aren’t any | 500 million kilograms per year

## 2
Question | Answer | A | B | C | D | E
What does PROBE stand for? | B | Poor building examples | Post Occupancy Review of Building Engineering | Probably good engineering | Purposfully recycled old building envelopes | Has no meaning
How is air leakage of a building found? | D | Smoke test | Cannot be done accurately | Measing all air movements at openings | Pressure testing it | Occupancy survey
Post occupancy surveys are useful for what? | A | Consistent measurement of performance | List of occupant complaints | Wasting the design teams time and cost | Reporting emission rating | Identifying zero emission buildings
PROBE studies were conducted during? | C | 1945-1950 | Since the EU ETS became law | 1990's | 1970's fuel crisis | 2000-2010
Who are most interested in post-occupancy reviews | E | Researchers | Owner | Occupier | Government | Designers
Which is correct about low energy building designs in the UK | A | Should consume a minimum of primary energy when compared with similar types and sizes of buildings | Are always modern and look impressive | Are always found to be ideally comfortable by users | Must have large windows and glazed walling | Must have small windows and high levels of thermal insulation
Which type of buildings were in PROBE? | A | 1980's-90's examples of good practice | All residential | Commercial city large buildings | Public buildings only | Only air conditioned buildings
What does a building emission performance certificate indicate? | B | A zero emission building | A ratio | How energy efficient the building is | Highest standard achieved in energy efficiency | The building uses a lot of energy
A+ energy Assett Rating means? | C | Highest energy user of this type of building | Zero emission building | Building complies with the Building Regulations, Part L, Fuel and Power | Best practice | Designers reckon it is an acceptable outcome
Zero net annual emissions means? | D | Emits no carbon dioxide | Uses no heating energy | Uses no cooling energy | Building complies with the Building Regulations, Part L, Fuel and Power | Self-conditioned from solar and internal gains

## 3
Question | Answer | A | B | C | D | E
We sense odours by? | D | A measuring instrument | Identifying smells | Breathing onto others | Olfactory response | Tasting them in our mouth
Which is correct about air humidity? | A | Moisture within building air will always condense into liquid at the lowest surface temperature location | Moisture in room air finds it own way out of the building | Moisture gained by room air will always condense somewhere and drain away | Natural ventilation does not remove moist air from a building | Only mechanical exhaust systems remove moist air from a building
Which is correct about ventilation? | B | Exfiltration of air is a bad thing for buildings | All air leaving a building is replaced by the same quantity of incoming air from outside | Natural ventilation only provides for air to leave the building | All toilet rooms must have natural ventilation openings to outside air | All house bathrooms and toilet rooms must have openable windows to outside
Dry bulb air temperature is measured by? | C | Thermistor | Thermocouple | Mercury in glass thermometer | Black bulb thermometer | Thermistor anemometer
Which is not one atmospheric pressure? | A | 300 inches of mercury | 1.0 bar | 14.7 pounds per square inch, psi | 1,013.25 millibars | 101325 Pa
What does Fanger’s thermal equation for sedentary comfort do? | E | Shows that it is impossible to satisfy everyone in the room | Finds a balance between variables affecting comfort | Shows that people prefer slightly cool conditions | Shows that people prefer slightly warm conditions | Shows when room conditions create thermal neutrality, i.e. neither too hot nor too cool
Anemometer is? | B | For measuring fan vane angles | A calibrated device to measure air speed in a room, outdoors or an air duct. | For assessing animosity towards the room conditions | A rotating vane with thermistor or heated wire sensor | A mechanical chart recorder for temperature
Which is the basic need of human comfort? | A | Constant core body temperature | Quiet indoor environment | Being comfortably warm | Avoidance of draughts | Avoiding suffering heat stroke by use of cooling systems
Which is correct about heat transfer? | D | Only steam boilers evaporate water | Still water surfaces do not evaporate | Water must be heated to at least 60oC to cause evaporation | Evaporation heat transfer is proportional to the partial pressure of the surrounding air | Vaporise and evaporate have different meanings
Which is the appropriate moving air speed for comfort criteria? | A | 20oC d.b. air should be moving at around 0.1 m/s at neck level | 30oC d.b. air can be moving at 1.25 m/s at head level for sedentary workers. | Should be above 2.0 m/s to create stimulating environment | Almost stagnant air around sedentary workers is preferable to avoid hot or cold draughts | Constant air velocity, temperature and direction is preferred so it is predictable for sedentary workers

## 4
Question | Answer | A | B | C | D | E
The required air leakage rate from a new building is in the range of? | B | Half to one air change per hour | 1 to 10 m3/h m2 at 50 Pa internal air pressure | 0.25 air changes per hour | 10 to 100 m3/h m2 at 25 Pa internal air pressure | Must be zero
Which of these is not a correct multiple? | A | MWh = 1000 W x 1 h | kJ = 103 J | 1 GJ = 106 kJ | 1 mm = 10-3 m | 1 GW = 1000 MW
Which is not correct for CO2 greenhouse gas? | C | Continuously converted back into O2 by photosynthesis | Produced by ruminating animals | Easily reversed to solid carbon plus oxygen gas into the atmosphere | It is burnt carbon from fuel combined with atmospheric oxyge | Combusted hydrocarbons are not the sole source of greenhouse gases
Which is Degree Day load factor not relevant to? | B | Ratio of degree days from meteorological data | Calculation of heating system kW load for design | Minimum outside air temperature for design | Seasonal weather variability | Maximum possible Degree Days for the locality
Economic thickness of thermal insulation is which of these? | A | The optimum balance of capital cost of the insulation versus the value of energy transferred. | As much as the building owner can afford | No limit to the thickness for keeping warm in a cold climate | Impossible to evaluate | Anything that is allowed in the regulations governing building
Which of these is included in the annual financial accounts for energy-saving projects? | D | Total cost of maintaining the building each year | Balance sheet for the building owners business | Balance sheet for the energy saving investment | Cash flow analysis for the duration of the energy-saving payback years | Total labour hours for all maintenance work in the building
Which of these describes low energy buildings? | C | Always uncomfortable for occupants | Design predictions of energy use mean nothing to the user of the building | Must comply with an energy rating mandatory standard upon construction | Cannot maintain low energy use after three years of use | Cannot have large areas of glazing
What does sustainability mean for low energy buildings? | B | All windows have low emissivity glass | Brick, steel and concrete walls save more energy consumption while in use than they cost to produce and construct | Aluminium window frames are not used in this building | Double glazed windows always used in cold climates | All thermal insulation, glass, aluminium, steel, timber and concrete in this building were harvested from renewable resources
What is used in the USA to rate a building? | A | Leadership in Energy and Environmental Design | Low Energy Environmental Design | Low Electrical Energy Demand | Leading Electrical Energy Demonstration | Leader in Energy Environment and Design
Which of these has the correct units? | E | 1 MJ = 103 kW/s | 1 Joule = 1 Watt/s | 103 J = 1 kW/s | 1 Watt = 103 Joule/s | 1 Joule = 1 Newton x 1 metre

## 5
Question | Answer | A | B | C | D | E
Which is the reason to use ice thermal storage in a HVAC refrigeration system? | A | Reduce energy cost | Reduce water chiller plant room space requirement | Reduce number of water chillers needed | Reduce water chiller run time | Install smaller capacity refrigeration compressors
Which is the most efficient way of recovering energy from room air? | E | Run-around pipe coils | Sensible heat recovery thermal wheel | Total heat recovery thermal wheel | Plate heat exchanger | Recirculation
Outdoor supply air rate recommended for office ventilation is which value in litre per second per person? | B | 1 | 10 | 5 | 7 | 9
What does a chilled beam mean? | D | Chilled water pipes alongside structural floor beams | Refrigerated pipe within a room | Steel structural beam exposed in the occupied room and cooled by a supply air stream from a directional grille | Natural convector chilled water finned pipe | Exposed steel beam at high level in a room having chilled water pipes attached
Why might an under floor air distribution system, UFAD, with multiple fan terminal units, FTU, have benefits? | A | Provides controllable microclimate at each workstation | Not used in commercial buildings as impractical and costly | Keeping many under floor fan coil units and their air filter, clean and dust-free, requires excessive maintenance work that disrupts office work | Saves having a central air handling unit plant room | Many small fans, coils, filters and controllers are cheaper than one large air handling unit
Where does Legionella disease originate? | C | Drains and sewers | French foreign legion | Aerosols from cooling towers, shower heads, spray taps, spa baths and humidifiers | Cold water storage tanks | Hot water storage cylinders
When the coefficient of performance during heating, COPH, of a vapour compression refrigeration cycles, is 3, which of these is the correct compressor power input to generate 750 kW of heating? | B | 750 kW | 250 kW | 2250 kW | 100 kW | 75 kW
Which is a reason for ventilating buildings? | D | Control indoor humidity | Removal of sick building syndrome contaminants | Removing tobacco smoke and cleaning fluid odours | Supply of outdoor air quantity to support life | Remove indoor dust
Which is correct about air pressurisation of buildings? | E | Supply air fans do not create building air pressurisation | Supply and exhaust air quantities must be equal | Outdoor wind environment creates internal air pressurisation | When exhaust air volume exceeds supply air quantity, building is pressurised | When exhaust air volume exceeds supply air quantity, building is depressurised
Which is correct about chlorinated fluorocarbons? | A | Must be transferred into a sealed cylinder and sent to recycling or disposal facility | Collected and recycled into usable LPG | Collected and recycled into foam plastic products | Do no harm to the global environment | Collected, liquefied and converted into cleaning solvents

## 6
Question | Answer | A | B | C | D | E
Areas of a building that do not respond to outdoor weather variations are which? | B | Store rooms | Areas more than 5.0 m from external walls | Most offices | Traditional stone churches | Zones that are air conditioned
U value is the sum of all thermal resistivities in a structure | A | R value is the sum of all thermal resistances in a structure | U value is the sum of all thermal resistivities in a structure | R value is the sum of all thermal resistivities in a structure | value is the sum of all thermal resistivities in a structure | U value is the sum of all thermal resistances in a structure
Which is the incorrect unit? | C | Thermal transmittance W/m2 K | Thermal resistivity m K/W | Thermal resistance W/m2 K | Thermal conductivity W/m K | Thermal resistance m2 K/W
Which does not apply to admittance values? | D | Expresses heat flow inwards to a heavy mass structural component | Y W/m2 K | Used instead of thermal transmittance in certain circumstances | Reciprocal of U value | Used for highly intermittently heated buildings
Which explanation of thermal conductivity is correct? | A | Units are W/m K | Ability of a material to resist the flow of heat | Property evaluating materials’ ability to pass moisture | Equal to resistance multiplied by thickness | Units are W/m2 K
Which of these calculated values of thermal resistance is not correct? | E | A low energy building wall has 1.0 m thickness of phenolic foam having a thermal conductivity of 0.04 W/m K making a thermal resistance of 25.0 m2 K/W | 110 mm of brickwork is 0.13 | 150 mm of fibreglass roof insulation is 3.75 | A metal window frame 20 mm thickness has a thermal conductivity of 50.0 W/m K and has a thermal resistance of virtually zero | 100 mm concrete having a thermal conductivity of 2.0 W/m K is 0.05
Which of these is correct? | B | Thermal resistance of a single glazed window in a wood frame is around 5.3 m2 K/W | U value of a wooden framed single glazed window is around 5.3 W/m2 K. | U value of a wooden framed single glazed window is around 5.3 m2 K/W | Thermal transmittance of a single glazed window in a standard aluminium frame is around 59.6 W/m2 K | A double glazed window has an overall U value of around two thirds that of an equivalent single glazed window
What do sheltered, normal and severe apply? | D | Preferable location for the outside air intake louvers of an air conditioning system | Air conditioning zones | Thickness ratings for window glass | U values | Fire risk classifications for a building
What does 0.33NV(t1-t2) mean? | A | Volumetric specific heat capacity of air, times number of air changes per hour, times room volume, times indoor-outdoor air temperature difference, calculates natural ventilation rate of heat loss for a heating system | One third of the volumetric air change rate multiplied by daily degree days above base temperature | 33% of normal building volume per degree temperature difference to calculate energy usage cost | A design guide to the plant room floor area likely to be required for air handling units | A fraction of the nominal building volume multiplied by air temperature difference
Which is correct about an existing structures’ thermal transmittance? | C | Cannot be measured in-situ | Can only be calculated from design information | Measure structural temperatures to calculate U value | Measurement requires a thermal imaging camera | Thermocouple temperature sensors have to be buried into drilled holes through the structure

## 7
Question | Answer | A | B | C | D | E
Where will a computer-based Building Management System usually not be found? | A | Car manufacturing plant | Public hospital | Prison | 500-person office building | 100-room hotel
What is an air thermostat? | A | Air temperature-operated switch | Air temperature sensor | Controller | Humidity monitor | Air speed indicator
How often does the Building Management System communicate data with sensors and actuators? | C | Once per hour | Continuously | Every few seconds | Daily | Annual reports
What forms does Building Management System data not take when passing through the communications cabling? | B | Light pulses through fibre optic cables | Alternating current of over 1.0 amp | Internet protocol data packets | Electrical direct current below 0.10 amp | Voltage of 10 volt maximum
What does a CHP plant do? | D | Burns natural gas to generate hot water heating | Generates electricity for the national grid | Provides emergency power when public supply fails | On-site gas turbine or reciprocating engine drives an alternator while engine cooling water heats the building | Gas turbine engine drives an alternator in a public supply power station
A 30 kW heat emitter has a flow water temperature of 82oC while return water leaves at 71oC. Specific heat capacity of water is 4.2 kJ/kg K. Pipe heat emission amounts to 10% of emitter output. Which of these is the water flow rate? | A | 0.72 kg/s | 1.4 l/s | 1.4 kg/h | 0.72 kg/h | Cannot be found from this information
Which of these is the equivalent length for a pumped heating water system circulation? | E | Total length of all pipes plus 25%. | Total length of the longest flow and return circuit | Total length of all pipes in the heating system | Length of the longest circuit to the furthest heat emitter | Flow and return circulation which creates the pump pressure rise
Which units specify pump pressure rise? | C | m H2O | psig | kN/m2 | mb | mm mercury Hg
Which of these chemical symbols is correct? | B | N2 nitrous oxide | O2 oxygen | O2 ozone | CO2 calcium bicarbonate | H2O hydrogen oxide
What does stoichiometric ratio mean? | D | Poor combustion | Optimum efficiency | Maximum oxygen in flue gas | Maximum carbon dioxide in flue gas | 100% excess air provided

## 8
Question | Answer | A | B | C | D | E
How can water usage be minimised in domestic hot and cold water systems | C | Provide all water outlets from high level storage tanks | Throttle pipe circuit balancing valves to minimise maximum water flow rates | Use spray taps on washbasins, low flow shower heads, dual flush toilets and urinal occupancy sensors | Reduce washing and toilet facilities to below recommended numbers | Cannot be reduced as people have to use a certain amount for each facility
Which of these is the correct basic safety provision for the public mains water supply system? | B | Stop valve as mains water enters each building | Air gap beneath every ball valve and tap outlet | Backflow preventer valve on each mains water pipe entering a building | Ball valve on a cold water storage tank | Toilet flushing cistern
Domestic potable cold water must not be allowed to rise above which temperature? | A | 25oC | 10oC | 15oC | 20oC | 30oC
Which water description is correct about hard water? | C | High pH value | Occurs in granite rocky soil parts of the country | Total dissolved salt concentration of over 100 ppm | High suspended salt concentration | Lathers easily
Which is the minimum allowable pressure of a water main in the street? | E | 10000 kPa | 100 bar | 10 atmospheres | 30 m water gauge | 100 kPa
What does central domestic hot water storage system mean? | A | Domestic hot water storage cylinder with pipework distribution to all hot water taps | Hot water storage tank in the middle of a building | Centrally heated storage calorifier | Gas-fired storage water hearers | Electrically heated domestic hot water unit near each tap where the power is generated from the public system
Which is the normal domestic hot water storage temperature? | D | 55oC | 40oC | 50oC | 65oC | 82oC
Which is the residential domestic hot water storage requirement in litres at 65oC, per person? | B | 5 | 30 | 15 | 40 | 60
What is a domestic hot water circulation system called? | E | Draw-off circulation system | Personnel circulation | Hot water pipe system | Tap circulation | Hot water secondary flow and return
An hotel has 100 double bedrooms, requires 35 litre of domestic hot water storage per guest in an indirect cylinder heated from 11oC to 65oC in 6 hours. What is the exact heater power consumed? | C | 17.5 kW | 36.7 kW | 73.25 kW | 52500 W | 90 kW

## 9
Question | Answer | A | B | C | D | E
What is a low power factor? | A | 0.8 and below | Zero | 0.95 | 0.85 | 1
How is plant protected by an MCB? | C | Building management computer system detects faults and trips main circuit breaker to the plant room where a fault occurred | MCB means manual circuit breaker switch at a distribution board | Micro circuit breaker switch opens on detecting excess current | MCB means moulded case breaker cartridge fuse for each plant circuit at main switchboard | It is a thermal overload switch
What are photovoltaic cells used for on buildings? | B | Never used as uneconomic embellishment | On-site electricity generation with alternating current rectifiers, battery storage and often used to meet some of the artificial lighting continuous demand | Alternative to roofing material | Charging 12 volt emergency power supply batteries, UPS | To make a public statement about this building's sustainability credentials.
What is the meaning of inverter drive? | A | Motor driven at variable alternating current frequencies | An electric motor installed in an inverted position | Three phase electric motor | Three phase motor running in single phase | Digitally driven motor
How is power consumed by an electrical item measured? | D | Voltmeter connected into line conductor to the load and an ammeter connected in parallel with the load | Wattmeter cut into the line conductor | Voltmeter and current meter both cut into line conductor to the load | Ammeter connected into the line conductor to the load and a voltmeter connected in parallel with the load | Wattmeter connected in parallel with the load
Which system of public electricity is provided to small to medium sized non-domestic buildings in the UK and Australia? | C | 210 volt,1 phase, 55 Hz, alternating current | 50 Hz, 240 volt, AC | AC, 50 Hz, 3 phase, 415 volt | 2 phase, 60 Hz, 200 volt | 440 volt, 3 phase, 60 Hz
How is three phase electricity created at a power station? | A | Each alternator has three stator coils so one revolution of the rotor generates three separate sine wave outputs | Three single phase alternators have interconnected output power circuits | Single phase generators with rectifiers creating three phases | Multiple transformers create three phases | Three single phase alternators each power one line voltage; each building takes all three lines to have three phase power
Which of these does a single phase electricity current look like on an oscilloscope screen? (Hint, draw them.) | B | Zero phase angle maximum positive current, 90o phase angle zero current, 180o phase angle maximum negative current | Zero phase angle zero current, 90o phase angle maximum positive current, 180o phase angle zero current | Zero phase angle 50% maximum positive current, 90o phase angle 100% positive current, 180o phase angle zero current | 135o phase angle zero current, 225o phase angle maximum negative current, 315o phase angle zero current | Zero phase angle zero maximum negative current, 90o phase angle zero current, 180o phase angle maximum positive current
Which correctly describes the relationship between voltage and current in an alternating current system? | E | Inefficient generators produce a current flow lagging voltage | Voltage and amperes are synchronised | Voltage peak occurs behind peak value of current | Current always follows voltage producing it by exactly one phase | Current always follows fractionally behind the voltage that produces flow of electricity
What opposes flow of electrical current into an electric motor? | D | Mechanical feed-back from forces on motor output shaft | Resistance of the motor coils | Temperature coefficient of resistance increases circuit electrical resistance | Inductance | Capacitance of motor control system

## 10
Question | Answer | A | B | C | D | E
When 900 lumen falls onto a 2.0 m2 surface from a fluorescent lamp, and a light meter finds that 360 lumen are reflected, the luminance of the surface is: | B | 0.71 | 0.4 | 0.2 | 1.25 | 3
Light falling onto the surface in a room: | A | Some is absorbed and some reflected | Is all absorbed | Is all reflected | Bounces off at same angle as it arrives | Displays the colour of the surface material
Illumination Intensity is which? | C | Lumens | Light level | Illuminance | Lumen/m2 | Lumen per watt
Efficacy of a lamp means? | A | Lumens light output per watt of electrical input power to lamp | Efficiency at converting colour temperature into illuminance on the working plane | Percentage of lamp globe or tube surface area that emits light | Proportion of lamp light output directed toward the working plane | Luminous efficacy is total illuminance produced divided by lamp electrical input power including all control equipment consumption
Light system glare means? | D | Florescent indoor lighting systems do not cause glare | Whether discomfort is created in a particular viewing direction | Sedentary position includes direct view of sunshine | Impairment of vision due to excessive brightness | All lighting causes glare when viewed directly
What is an air-handling luminaire? | E | Sealed luminaire to keep out moisture | A sealed light fitting inside an air handling unit to allow servicing work | A light fitting open to the room air allowing cooling | Lamp designed for low temperature operation | Luminaire passing air returning to the ductwork system from the conditioned room
What is meant by lamp colour temperature? | B | Colour shift in surface caused by the type of lamp | Description of colour-rendering property | Colour of the lamp when viewed directly | Infra-red fraction of the sun produced by the lamp | Calculated average temperature from each of eight wavelength bands in the light produced by a lamp
Which are correct descriptions of lighting system sensor operation? | C | People in office workstations cannot be seen by infra-red, microwave and acoustic sensors | Frequent switching of fluorescent lighting does not work | Correctly placed occupancy sensors ensures safe access at all times and fluorescent lamps switch on very quickly | Fluorescent lamps take too long to switch on for automatic sensing systems to work efficiently and people have to walk into a dark room | Unoccupied rooms should not remain without lighting as they are an invitation to burglars
Which is correct about lighting? | A | 1000 lumen/m2 is a very bright indoor illumination level | 1000 lux is a very dull indoor illumination | A typical fluorescent tube emits about one million lumens | Fluorescent lighting does not cast shadows | LED lighting is very energy-inefficient
Which of these correctly describe BZ classification? | D | BZ 5 projects only sideways and is used for wall mounted luminaires | BZ 0 means equal spherical illuminance | BZ 10 means light projection all downwards | BZ 10 has a luminaire directing all light output upwards providing only reflection off the ceiling | BZ defines the solid angle projection from a lamp in streradians

## 11
Question | Answer | A | B | C | D | E
Using a Psychrometric chart or a sketch of one, without calculation or use of tabulated data, which air condition do you expect to have a higher vapour pressure than the air in the room you are in now? | A | 35oC d.b., 32oC w.b. | 20oC d.b., 50% Percentage Saturation | 10oC d.b., 80% Percentage Saturation | -5oC d.b., 100% Relative humidity | 40oC d.b., 10% Percentage Saturation
Why does condensation occur within a building? | B | Users leave taps running, baths full, water evaporates and deposits onto room surfaces, making air moist | Evaporated water within the building meets surfaces at below dew point temperature | Kettles, cooking, fish tanks and open bowls of water evaporate more water vapour into room than ventilation can remove | Porous building materials provide pathways for cold moisture to ingress a warm building and make indoor surfaces damp | Cyclic variation of indoor surface temperatures always produces below dew point locations
What is air, in terms of condensation risk? | C | Dry gas needed to ventilate humidity out of buildings | Mixture of oxygen, nitrogen and carbon dioxide | Mixture of dry gases and water vapour | That which causes the problem | Humans and animals breathe out humid air
What is the movement of humidity through a building called? | A | Mass transfer | Ventilation | Natural or mechanical ventilation | Condensation | Evaporation
What drives moisture flow through a structure? | C | Percentage saturation difference | Air temperature difference in oC d.b. | Vapour pressure difference in Pascal’s | Air moisture content difference in kg H2O/kg dry air | Wet bulb air temperature difference in oC w.b.
In the context of condensation in building, what does Rv stand for? | E | Volumetric resistance of a material | Resistance value | Resistance volume | Vapour resistivity | Total vapour resistance
How can a porous wall or roof have its’ vapour resistance improved? | D | Replace with new materials | Wallpaper internal surfaces | Drill ventilation holes to ventilate structure | Add a layer of polythene film | Cannot be done so increase heating within building
Which is true? | A | MN s/g m = GN s/kg m | 103 kN s/g m = GN s/kg m | 103 N s/g =MN s/g | 106 N s/kg = MN s/g | kN s/kg = MN s/g
Why are thermal and dew point temperature gradients for a structure calculated and drawn? | B | Calculate thermal admittance of the structure | Decide where additional thermal insulation or vapour barrier improves performance | Discover dynamic behaviour of the structure | No need to do it anymore as computers do all design | Calculate optimum thickness of thermal insulation
Which are the units of moisture mass flow rate through a building structure used to calculate condensation risk? | B | kg/s | kg/m2 s | grammes/hour | kPa/m2 | N s/kg

## 15
Question | Answer | A | B | C | D | E
Presbycusis is: | B | Hearing loss due to long term exposure to noise above 90 dBA | Normal deterioration in hearing due to ageing | Hearing loss due to ear disease | A church presbytery committee | Temporary shift in hearing ability from exposure to high industrial noise levels above 95 dBC
Hearing range is: | A | 20 Hz to 20 kHz | 2 Hz to 20 MHz | 200 Hz to 200 MHz | Infinitely wide | 2 kHz to 20 MHz
What does the building services engineer do with noise? | C | Passes any problem to a specialist | Ignores it | Controls it to acceptable standard in occupied spaces | Not select plant that generates noise | Alters the use of the building to avoid any noise problem
Sound travels through air in the form of: | D | Sinusoidal alternating frequency | Straight lines | Electromagnetic radiation | Waves | Molecular vibration
Reference point for sound level measurement is: | C | Lowest audible level by a domestic animal | Absolute zero sound | Smallest sound detectable by human ear | Zero atmospheric pressure as found in space | Inaudible level created in a test laboratory
A gas turbine rotates at 60000 RPM and has fifty blades on its largest diameter. One of the sound frequencies it produces is around: | A | 50 kHz | 50 Hz | 5000 Hz | 60 kHz | 20 kHz
Which item of plant does not normally create noise? | E | Air compressors | Fans and pumps | Refrigeration compressors | Fired water heaters | Piped systems
Which is the smallest increment of sound pressure level detectable by the human ear? | B | 1 W/m2 | 1 decibel | 1 Bel | 60 Bel | 100 N/m2
Explain the meaning of SWL: | D | Sound pressure level, meaning energy | Selective wind loading | Sound wind level | Sound watts level, meaning power | Sound watts loudness, meaning loudness power
A noisy machine on a plant room concrete floor: | A | May direct sound more strongly in a particular direction | Has no sound directivity | Sends direct sound field through the floor | Only creates a reverberant sound field | Gains a benefit from sound energy absorbed by the floor

## 17
Question | Answer | A | B | C | D | E
Which of these is included in the annual financial accounts for energy-saving projects? | C | Balance sheet for the energy saving investment | Balance sheet for the building owners business | Cash flow analysis for the duration of the energy-saving payback years | Total cost of maintaining the building each year | Total labour hours for all maintenance work in the building
Which of these acronyms is correct? | E | CIC is the Council for Industry and Construction | ASHRAE means Australian Society for Heating, Refrigerating and Air Engineering | AIRAH means American Institute for Refrigeration and Air Heating | BSRIA stands for British Services Refrigeration Institute for Air Conditioning | CIBSE stands for The Chartered Institution of Building Services Engineers
Does air conditioning lead to obesity? Which of these may not be a valid argument? | B | Keeping home, vehicle and workplace at one temperature all year round promotes body fat | Thermal neutrality can only maintain the obesity status quo | Cool air temperature encourages fat burning | Warm air temperature decreases natural appetite | Natural body temperature regulation from variable air temperature is a good thing
Which of these may not be a cause for sick building syndrome? | A | Canteen food | Job related stress and overwork | Excessive working hours | Lack of exercise during the working day | Perception of lack of personal support at work
Which is correct about energy use in buildings? | D | Future retrofitting of energy-saving systems can easily reduce an existing building’s consumption to 25% of its design energy use | Designers cannot predict future energy use of a building | Retrofitting low energy systems into existing buildings is easily done in later years | Energy modelling predicts design energy use by a building | The best that future retrofitting can hope to achieve is a 25% reduction in a building’s actual energy consumption
Which is correct about the density of humid air? | A | 1.205 kg/m3 at 20oC, 1013.25 mb | 4.186 kg/m3 at 21oC, 60% relative humidity | 1.013 kg/m3 at 20oC, sea level | 0.802 m3/kg | 5.67 kg/m3
What does inverter mean? | C | It is an electronic soft starter for a three phase motor | Alternating current phases are reversed | Incoming 50 Hz alternating current is digitally reformed into an output frequency to a motor in the range from 0 to 50 Hz | Incoming 50 Hz alternating current is digitally reformed into an output frequency to a motor in the range from 0 to 20000 Hz | Alternating current is electronically converted into direct current to drive a motor
CFD stands for? | B | Comfort for disabled people | Computational fluid dynamics | Computer fluid dynamics | Comfort frequency diagramme | Computer flow diagnostics
Which of these is not a common standard for data transmission? | E | C-bus | Ethernet | RS484 | RS232 | RS124
Which of these is not a correct multiple? | D | 1 mm = 10-3 m | kJ = 103 J | 1 GJ = 106 kJ | MWh = 1000 W x 1 h | 1 GW = 1000 MW
Which is a valid justification for air conditioning? | A | Buildings packed to capacity with people, computer workstations and artificial lighting usually need air conditioning in the UK | The future habitability of planet Earth is assured whatever we may do to its natural resources | The pattern of energy use for the next 100 years of a building’s use has nothing to do with its designers | Building designers must ignore those few days in the year when hot humid weather makes indoor conditions uncomfortable without mechanical cooling systems | Correct design of glazing in commercial buildings for the UK always eliminates the need for air conditioning
Which is correct about volume? | B | 1 cubic centimetre water occupies 1 litre | 1 m3 = 1000 litre | 1 tonne of water occupies 1000 m3 | 1 litre of water weighs 100 kg | 1 litre of water weighs 10 kg
How is plant protected by an MCB? | A | Micro circuit breaker switch opens on detecting excess current | MCB means manual circuit breaker switch at a distribution board | Building management computer system detects faults and trips main circuit breaker to the plant room where a fault occurred | MCB means moulded case breaker cartridge fuse for each plant circuit at main switchboard | It is a thermal overload switch
The required air leakage rate from a new building is in the range: | C | 0.25 air changes per hour | Half to one air change per hour | 1 to 10 m3/h m2 at 50 Pa internal air pressure | 10 to 100 m3/h m2 at 25 Pa internal air pressure | Must be zero
Which is correct about the density of humid air? | B | Decreases with increasing pressure | Varies with air temperature and pressure | Increases with increasing air temperature | Not affected by humidity | Not affected by humidity
What does sustainability mean for low energy buildings? | E | The building has been constructed from organically grown materials | No such thing as a modern sustainable building | Everything used in the buildings service life comes from globally sustainable resources | All waste output from this building is recycled | This building is an example of good modern design practice
What does the acronym BREEAM relate to? | D | Ratings awarded as fail, not recommended, minimum pass and recommended | Exposes inadequate design proposals | Cannot produce an overall score for the building | Certificate awarded can be used by building owner for promotional purposes | A poorly rated building should remain confidential to the building owner
Which correctly describes types of heat transfer? | A | Sensible heat transfer takes place from an area of higher temperature to one of lower temperature | Sensible heat transfer is the logical method | Latent heat transfer occurs only in steam | Radiation heat transfer is neither sensible nor latent | Latent heat transfer is easily measured
What are fluorinated hydrocarbons used for? | B | Swimming pool water treatment | Ozone-depleting refrigerants | Biocide decontamination of cooling towers | Non-CFC foam insulation and furnishings | Combustible gaseous fuel
What have I learnt from this study? | C | I can design or construct buildings; someone else must worry about the fiddly bits | Nothing, it is all a fog to me! | Mechanical and electrical services within a building are not very important to the overall concept of the design and construction | I now appreciate the importance and main features of the essential and desirable building services! | The building will work without the mechanical and electrical services anyway

## 18
Question | Answer | A | B | C | D | E
Which of these equals one standard atmosphere at sea level? | A | 1.01325 x 105 N/m2 | 1 x 105 Pascal’s, Pa | 1 x 104 N/m2 | 30 m H2O | 1013.25 mm Hg
Which is the Specific Heat Capacity of air? | B | Sensible heat content kJ/kg | 1.012 kJ/kg K | Total heat content kJ/kg | 1.205 kJ/kg | 4.186 kJ/kg K
Which is correct about the density of humid air? | D | 0.802 m3/kg | 4.186 kg/m3 at 21oC, 60% relative humidity | 1.013 kg/m3 at 20oC, sea level | 1.205 kg/m3 at 20oC, 1013.25 mb | 5.67 kg/m3
Which is correct about the density of water? | C | 1.2 x 103 kg/m3 | 1 g/cm3 | 1 kg per litre | Specific gravity is 4.186 | 1000 tonne/m3 at 10oC
Which of these has the correct units? | E | 1 Joule = 1 N/m2 | 1 Joule = 1 kg x 1 m | 1 Watt = 1 kg x g m/s2 | 103 Joules = 3600 kN/m2 | 1 Newton = 1 kg x 1 m/2
Which of these has the correct electrical units? | D | Electrical energy meters accumulate kW/h | 1 MW =103 W | 103 kJ = 103 kW/s | 1 Watt = 1 volt x 1 ampere | 103 W = 103 V x 103 A
Which of these has the correct pressure units? | A | 1 b = 105 N/m2 | 1.01325 mb = 1 atmosphere | 1 MN = 103 kN/m2 | 1 b = 1 kN/m2 | 13.6 mb = 13.6 N/m2
Which has the correct meaning for frequency? | B | Alternating current rate of increase | Revolutions per minute | Electrical single or three phase | Torque of a motor | Air changes per hour
Which is correct about Kelvin? | E | Degrees measured above absolute zero at -180oF | Name of a famous Scottish scientist who invented the steam engine. | Invented first bicycle in Scotland | Kelvin McAdam invented tarmacadam for road surfacing | K = C + 273
A room 12 m long, 8 m wide and having an average height of 4 m, has a volume of which? | A | 384 m3 | 400 m3 | 62 m3 | 462 m3 | 3840 litre